## ANNEXURE_VI_ERECTION
ANNEXURE VI
SCHEDULE OF QUANTITY (ERECTION) FOR ASSOCIATED TRANSMISSION LINE FOR 220/33KV BIHPURIA GIS
Sl. No. | Item Description | Required Quantity | Units
1 | 2 | 4 | 5
1 | TL 1.2: 220KV DC Pabhoi- Bihpuria TL(Quantity given below are as per standard design, however measurement and payment will be done as per approved design)
1 | Setting of stubs (sets of four) including transportation and distribution of stubs and accessories from store to site excluding cost of excavation, concreting and back filling
1.01 | For Normal Tower
1.011 | For Suspension tower | 64 | Set
1.012 | Angle Tower B type | 15 | Set
1.013 | Angle Tower C type | 19 | Set
1.014 | Angle Tower D type | 43 | Set
1.02 | For Towers with 3 meter extension
1.021 | For Suspension tower | 59 | Set
1.022 | Angle Tower B type | 8 | Set
1.023 | Angle Tower C type | 12 | Set
1.024 | Angle Tower D type | 13 | Set
1.03 | For Towers with 6 meter extension
1.031 | For Suspension tower | 14 | Set
1.032 | Angle Tower B type | 4 | Set
1.033 | Angle Tower C type | 2 | Set
1.034 | Angle Tower D type | 6 | Set
1.04 | For Towers with 9 meter extension
1.041 | Angle Tower B type | 1 | Set
1.042 | Angle Tower C type | 1 | Set
1.043 | Angle Tower D type | 5 | Set
1.05 | For Towers with 12 meter extension
1.051 | Angle Tower D type | 7 | Set
1.06 | For Towers with 15 meter extension
1.061 | Angle Tower D type | 1 | Set
1.07 | For Towers with 18 meter extension
1.071 | Angle Tower D type | 7 | Set
1.08 | For Special Structures (Gantry Type) | 10 | Set
2 | Super structure erection including transportation of structures by any means and distribution of structure and accessories from stores to site excluding fixing of Danger plate, number plate, anti climbing device, hoisting of insulators and paintings, if any as per direction of site Engineer.
2.01 | For Normal Tower
2.011 | For Suspension tower | 279.296 | MT
2.012 | Angle Tower B type | 95.1 | MT
2.013 | Angle Tower C type | 146.832 | MT
2.014 | Angle Tower D type | 384.119 | MT
2.02 | For Towers with 3 meter extension
2.021 | For Suspension tower | 47.79 | MT
2.022 | Angle Tower B type | 8.784 | MT
2.023 | Angle Tower C type | 16.056 | MT
1.024 | Angle Tower D type | 20.514 | MT
2.03 | For Towers with 6 meter extension
2.031 | For Suspension tower | 20.65 | MT
2.032 | Angle Tower B type | 7.9 | MT
2.033 | Angle Tower C type | 4.826 | MT
2.034 | Angle Tower D type | 16.938 | MT
2.04 | For Towers with 9 meter extension
2.041 | Angle Tower B type | 2.805 | MT
2.042 | Angle Tower C type | 3.343 | MT
2.043 | Angle Tower D type | 19.61 | MT
2.05 | For Towers with 12 meter extension
2.051 | Angle Tower D type | 44.016 | MT
2.06 | For Towers with 15 meter extension
2.061 | Angle Tower D type | 7.776 | MT
2.07 | For Towers with 18 meter extension
2.071 | Angle Tower D type | 64.848 | MT
2.08 | For Special Structures (Gantry Type) | 72 | MT
3 | Stringing of power conductors including transportation from Stores and distribution of conductors and accessories to sites and laying, stringing, tensioning , clamping, jointing, jumpering and hoisting of insulators complete including cost of all fittings and accessories not specifically mentioned elsewhere per route Km (6 conductors for Double Circuit Line) of line. | 88.64 | Route KM
4 | Grounding of towers with 3 metre long 25 mm dia G I pipe, including cost of all materials, such as GI pipes, GI bolts & nuts and washer, salt, coke etc as per Specification. | 291 | Per Tower
5 | Painting of towers with bituminous paints of approved quality up to 3 metres from ground level including the cost of paints. | 291 | Per Tower
6 | Erection of Danger plates. (1 no per tower) | 291 | Nos.
7 | Erection of Phase plates. (6 nos per tower per tower as required) | 582 | Sets
8 | Erection of Number plates. (1 no per tower) | 291 | Nos.
9 | Erection of Bird guard. (6 nos per tower as required) | 137 | Sets
10 | Erection of anti climbing device (1 set per tower) | 281 | Sets
11 | Erection of Circuit Plate | 291 | Nos.
12 | Check Survey as per Specification | 88.64 | Route KM
13 | Welding of all nuts & bolts up to the bottom cross arm level including all charges of transportation, materials etc.
13.01 | A+0 type | 64 | Nos.
13.02 | B+0 type | 15 | Nos.
13.03 | C+0 type | 19 | Nos.
13.04 | D+0 type | 43 | Nos.
13.05 | A+3 type | 59 | Nos.
13.06 | B+3 type | 8 | Nos.
13.07 | C+3 type | 12 | Nos.
13.08 | D+3 type | 13 | Nos.
13.09 | A+6 type | 14 | Nos.
13.1 | B+6 type | 4 | Nos.
13.11 | C+6 type | 2 | Nos.
13.12 | D+6 type | 6 | Nos.
13.13 | B+9 type | 1 | Nos.
13.14 | C+9 type | 1 | Nos.
13.15 | D+9 type | 5 | Nos.
13.16 | D+12 type | 7 | Nos.
13.17 | D+15 type | 1 | Nos.
13.18 | D+18 type | 7 | Nos.
13.19 | Special Structures(Gantry Type) | 10 | Nos.
14 | Concreting of foundation including all Labour, materials, equipment, excavation shuttering, head loading, back filling etc complete for handling, transportation, batching, mixing, placing, levelling, curing etc complete inclusive of cost of cement and reinforcement steel as per approved design. Quantity given below are as per standard design
14.01 | For A Type Tower
14.011 | Wet Type foundation | 553.32 | CuM
14.012 | Semi submerged Type | 34.302 | CuM
14.013 | Submerged Type | 14.062 | CuM
14.02 | For A+3 Type Tower (No of Tower x CuM* )
14.021 | Wet Type foundation | 555.66 | CuM
14.022 | Semi submerged Type | 50.48 | CuM
14.023 | Submerged Type | 15.52 | CuM
14.03 | For A+6 Type Tower (No of Tower x CuM* )
14.031 | Wet Type foundation | 117.26 | CuM
14.032 | Semi submerged Type | 38.01 | CuM
14.04 | For B Type Tower (No of Tower x CuM* )
14.041 | Wet Type foundation | 257.32 | CuM
14.042 | Semi submerged Type | 22.8 | CuM
14.05 | For B+3 Type Tower (No of Tower x CuM* )
14.051 | Wet Type foundation | 136.801 | CuM
14.052 | Semi submerged Type | 23.14 | CuM
14.06 | For B+6 Type Tower (No of Tower x CuM* )
14.062 | Wet Type foundation | 40.24 | CuM
14.063 | Semi submerged Type | 46.28 | CuM
14.07 | For B+9 Type Tower (No of Tower x CuM* )
14.071 | Wet Type foundation | 20.12 | CuM
14.08 | For C Type Tower (No of Tower x CuM* )
14.082 | Wet Type foundation | 397.35 | CuM
14.083 | Semi submerged Type | 26.751 | CuM
14.09 | For C+3 Type Tower (No of Tower x CuM* )
14.091 | Wet Type foundation | 286.992 | CuM
14.1 | For C+6 Type Tower (No of Tower x CuM* )
14.102 | Wet Type foundation | 24.14 | CuM
14.103 | Semi submerged Type | 28.93 | CuM
14.11 | For C+9 Type Tower (No of Tower x CuM* )
14.111 | Semi submerged Type | 28.93 | CuM
14.12 | For D Type Tower (No of Tower x CuM* )
14.122 | Wet Type foundation | 1131.156 | CuM
14.123 | Semi submerged Type | 105.396 | CuM
14.13 | For D+3 Type Tower (No of Tower x CuM* )
14.131 | Wet Type foundation | 344.795 | CuM
14.132 | Semi submerged Type | 74.946 | CuM
14.14 | For D+6 Type Tower (No of Tower x CuM* )
14.141 | Wet Type foundation | 165.6 | CuM
14.142 | Semi submerged Type | 38.33 | CuM
14.15 | For D+9 Type Tower (No of Tower x CuM* )
14.151 | Semi submerged Type | 191.65 | CuM
14.16 | For D+12 Type Tower (No of Tower x CuM* )
14.161 | Semi submerged Type | 335.388 | CuM
14.17 | For D+15 Type Tower (No of Tower x CuM* )
14.171 | Semi submerged Type | 47.913 | CuM
14.18 | For D+18 Type Tower (No of Tower x CuM* )
14.181 | Semi submerged Type | 143.738 | CuM
14.19 | ForSpecial Structures GantryType (No of Structures x CuM* )
14.191 | Wet Type foundation | 280 | CuM
15 | Stringing of OPGW
15.01 | OPGW cable & characteristic
15.011 | Stringing of 24 Fibre (DWSM)OPGW Fibre Optic cable including transportation and distribution of OPGW and accessories to site and laying, stringing, tensioning , clamping, jointing , complete including all fittings and accessories not specifically mentioned elsewhere per route Km of line | 88.64 | Route KM
15.012 | Installation of Hardware set for above 24 Fibre OPGW Fibre Optic cabling including all cable fittings & accessories like suspension assembly, tension assembly, dead end tension assembly at line terminations, tension double end set for splice location, vibration dampers, earthing clamps, down lead clamps, in-line spice enclosures etc. | 1 | Lump Sum
15.013 | Joint box (24 Fibre) | 30 | Nos.
15.02 | Installation of FODP
15.021 | FODP 24F : Indoor Type, rack mounted with FCPC coupling and pig tails | 2 | Nos
15.03 | Fibre Optic approach cable (DWSM 24F)
15.031 | Installation of Fibre Optic approach cable (DWSM 24F) | 1 | KM
15.032 | Installation of hardware set for above 24 Fibre, Fibre Optic Approach Cable ties/clips/cleats, conduits, ducts, supports, fittings, accessories etc for extending OPGW from sub-station end tower/gantry to FODP at control/ communication room by splicing fibres of OPGW with FOAC in joint box at tower/gantry and splicing FOAC in FODP at control/ communication room | 1 | Set
16 | Installation of Span Markers | 280 | Nos
17 | Installation of Obstruction Lights (to be provided as per IS 5613)
17.001 | 1 Medium Intensity + 2 Low Intensity | 281 | Nos
18 | Protection of tower footing
18.01 | supply and installation of ' Random rubble stone masonary including excavation (1:5 cement mortar) | 500 | CuM
18.02 | supply and installation of Backfilling and gap levelling of volumes enclosed by revetment | 150 | CuM
18.03 | supply and installation of M 15 (1:2:4) mixed concrete for top seal cover of revetment | 50 | CuM
18.04 | supply and installation of Stone Bound in Galvanising wire netting including excavation | 800 | CuM
18.05 | Benching: All kinds of soils including fissured rock,hard rock and sandy soil | 800 | CuM
19 | Installation of Pile Foundation
19.01 | Boring, providing and installation of bored cast-in-situ RCC vertical piles of specified diameter and of any length below the pile cap with M25 grade of cement concrete, excluding the cost of reinforcement steel but including the cost of boring with temporary guide casing, bentonite solution and the length of pile to be embede in the pile cap (length of pile for payment shall be measured from bottom of pile cap),all necessary labour materials, plants, tools, & tackles etc. complete as necessary for proper execution of the job. (Boring in weathered rock, shell, fissured rock and soft rock excluded)
19.011 | 1200 mm diameter R.C.C vertical bored pile upto 40 m from bottom of pile cap. | 768 | Meter
19.012 | 1000 mm diameter R.C.C vertical bored pile upto 40 m from bottom of pile cap. | 960 | Meter
19.02 | Excavation (other than boring ) for all depth and size, in all types of soil including disposal of excavated materials for all lifts and leads, decent etc. as directed by Engineer-in-charge, together with labour, tools, & tackles, sheeting, sheet piling, dewatering etc. complete as required for proper execution of the job. | 619.642 | CuM
19.03 | Backfilling with available excavated earth for all leads and lifts in sides of foundations and other underground facilities in horizontal layers not exceeding 20 cm. in depth consolidating each deposited layer by ramming and watering etc. | 174.546 | CuM
19.04 | Form work for placing plain or reinforced cement concrete of any type including block out and section at any elevation including all labour, materials, equipments, waste for form, shoring, shuttering, strutting, propping, scafolding, tieing, nailing, caulking, dimantling & removal of forms etc. complete. | 615.878 | SqM
19.05 | Supply & placing of steel reinforcement of specified grade for R.C.C work in pile, pile cap, pedestal/chimney, tie beam (if required) including straightening, cutting, bending etc. all complete. | 229.44 | MT
19.06 | Providing & laying in position M25 Grade concrete of specified 28 days strength for pile caps, pedestal/chimney and tie beam (if required), excluding reinforcement steel and form work but including cement, all necessary tools and tackles, labour, materials, equipments for handling, transportation, batching, mixing, placing, vibrating, dewatering etc. all complete | 489.402 | CuM
19.07 | Providing & laying plain cement concrete 1:4:8 (1cement : 4course sand : 8graded stone aggregate of 40 mm nominal size) including cement, all necessary tools and tackles, labour, materials, equipments for handling, transportation, mixing, placing, vibrating, dewatering etc. all complete. | 26.182 | CuM
19.08 | Supply and providing M.S liner of 6 mm. Thick in piles upto 10m depth (maximum) from bottom of pile cap, limited to the approved drawing, including supply, straightening, bending, welding, all supports, labours, tools & tackles, plants & equipments, with primer and painting etc. (complete) as required for successful completion of the job. | 116.032 | MT
19.09 | Conducting standard penetration test (SPT) at various elevations in pile bore holes in all kind of soils including all labour, materials, tools & tackles, equipments etc. required for successful completion of the job. | 120 | No
19.1 | Conducting integrity test on piles using electronic control unit, hand held hammer, accelerometer, computer with required software to assess as-installed pile characteristics including mobilization of necessary manpower, equipments, materials etc. required for successful completion of the job. | 72 | No