## ANNEXURE VII_SUPPLY
ANNEXURE-VII:
SCHEDULE OF QUANTITY (SUPPLY) FOR ASSOCIATED LINE FOR 220/33KV CHAYGAON GIS
Sl. No. | Item Description | Required Quantity | Units
1 | 2 | 4 | 5
1 | TL 1.1 : 220KV LILO from Mirza- Boko at Chaygaon GSS (Quantity given below are as per standard design, however measurement and payment will be done as per approved design)
1.1 | Angle towers (B type)
1.11 | Superstructures:
1.111 | Galvanized steel works including hangers, gussets, strain plates etc. (No of Tower X MT* per Tower) | 6.055 | MT
1.112 | Galvanized iron nuts & bolts, spring washers, step bolts etc. (No of Tower X MT* per Tower) | 0.262 | MT
1.2 | Angle towers (C type)
1.21 | Superstructures:
1.211 | Galvanized steel works including hangers, gussets, strain plates etc. (No of Tower X MT* per Tower) | 14.758 | MT
1.212 | Galvanized iron nuts & bolts, spring washers, step bolts etc. (No of Tower X MT* per Tower) | 0.63 | MT
1.22 | Stub set of four:
1.221 | Partially galvanized stub angle | 1 | Set
1.222 | Galvanized iron nuts & bolts, spring washers, step bolts etc. | 1 | Lot per Set
1.3 | Angle towers (D type)
1.31 | Superstructures:
1.311 | Galvanized steel works including hangers, gussets, strain plates etc. (No of Tower X MT* per Tower) | 51.342 | MT
1.312 | Galvanized iron nuts & bolts, spring washers, step bolts etc. (No of Tower X MT* per Tower) | 2.04 | MT
1.32 | Stub set of four:
1.321 | Partially galvanized stub angle | 3 | Set
1.322 | Galvanized iron nuts & bolts, spring washers, step bolts etc. | 3 | Lot per Set
1.4 | 3 Meter Extension Body
1.41 | Superstructures:
1.41 | Galvanized steel works including hangers, gussets, strain plates etc. (No of Tower X MT* per Tower)
1.4101 | D type | 1.529 | MT
1.411 | Galvanized iron nuts & bolts, spring washers, step bolts etc. (No of Tower X MT* per Tower)
1.4111 | D type | 0.05 | MT
1.42 | Stub set of four:
1.42 | Partially galvanized stub angle
1.4201 | D type | 1 | Set
1.421 | Galvanized iron nuts & bolts, spring washers, step bolts etc. (No of Tower X MT* per Tower)
1.4211 | D type | 1 | Set
1.5 | 6 Meter Extension Body
1.51 | Superstructures:
1.51 | Galvanized steel works including hangers, gussets, strain plates etc. (No of Tower X MT* per Tower)
1.5101 | B type | 1.9 | MT
1.5102 | C type | 2.34 | MT
1.511 | Galvanized iron nuts & bolts, spring washers, step bolts etc. (No of Tower X MT* per Tower)
1.5111 | B type | 0.068 | MT
1.5112 | C type | 0.074 | MT
1.52 | Stub set of four:
1.52 | Partially galvanized stub angle
1.5201 | B type | 1 | Set
1.5202 | C type | 1 | Set
1.521 | Galvanized iron nuts & bolts, spring washers, step bolts etc. (No of Tower X MT* per Tower)
1.5211 | B type | 1 | Lot per Set
1.5212 | C type | 1 | Lot per Set
1.6 | 15 Meter Extension Body
1.61 | Superstructures:
1.61 | Galvanized steel works including hangers, gussets, strain plates etc. (No of Tower X MT* per Tower)
1.6101 | D type | 7.315 | MT
1.611 | Galvanized iron nuts & bolts, spring washers, step bolts etc. (No of Tower X MT* per Tower)
1.6111 | D type | 0.196 | MT
1.62 | Stub set of four:
1.62 | Partially galvanized stub angle
1.6201 | D type | 1 | Set
1.621 | Galvanized iron nuts & bolts, spring washers, step bolts etc. (No of Tower X MT* per Tower)
1.6211 | D type | 1 | Lot per Set
1.7 | 18 Meter Extension Body
1.71 | Superstructures:
1.71 | Galvanized steel works including hangers, gussets, strain plates etc. (No of Tower X MT* per Tower)
1.7101 | D type | 8.517 | MT
1.711 | Galvanized iron nuts & bolts, spring washers, step bolts etc. (No of Tower X MT* per Tower)
1.7111 | D type | 0.22 | MT
1.72 | Stub set of four:
1.721 | Partially galvanized stub angle
1.7211 | D type | 1 | Set
1.722 | Galvanized iron nuts & bolts, spring washers, step bolts etc. (No of Tower X MT* per Tower)
1.7221 | D type | 1 | Lot per Set
1.8 | Adjustable Stub setting template
1.801 | B type | 1 | Set
1.802 | C type | 1 | Set
1.803 | D type | 2 | Set
1.81 | Galvanized iron nuts & bolts for above template
1.811 | B type | 1 | Lot per Set
1.812 | C type | 1 | Lot per Set
1.813 | D type | 2 | Lot per Set
1.9 | Procurement of Danger plates. | 9 | No
2 | Procurement of Phase plates.(Set of Three) | 18 | No
3 | Procurement of Number plates. | 9 | No
4 | Procurement of Bird guard. (Set of Three) | 1 | No
5 | Procurement of anti climbing device | 9 | Set
6 | Procurement of Circuit Plate | 9 | No
7 | 37/4.00 mm All Aluminium Alloy Conductor Zebra | 10 | KM
8 | POWER CONDUCTOR ACCESSORIES
8.01 | Stock bridge type Vibration Damper | 223 | No.
8.02 | Preformed Armoured Rods | 1 | No.
8.03 | Mid Span Compression Joint for Conductor | 6 | No.
8.04 | Repair Sleeve for Conductor | 3 | No.
9 | FIBRE OPTIC CABLES
9.01 | 48 Fibre (DWSM)OPGW Fibre Optic cable | 2 | KM
9.02 | Fibre Optic Approach Cable (DWSM48F) | 1 | KM
10 | OPGW HARDWARE/FITTINGS AND TERMINATIONS
10.01 | OPGW Suspension Assembly with twisted link c/w pre-formed armour rods and tower bond clamps | 4 | Set
10.02 | OPGW Suspension Assembly with chain link c/w pre-formed armour rods and tower bond clamps | 3 | Set
10.03 | OPGW double tension pass through assembly | 2 | Set
10.04 | OPGW double tension assembly for splicing location c/w pre-formed armour rods and tower bond clamps | 2 | Set
10.05 | OPGW Tension Single Dead end set for termination/ run in c/w pre-formed armour ros and tower bond clamps | 3 | Set
10.06 | OPGW Vibration Damper c/w pre-formed armour rods | 28 | Set
10.07 | Down Lead Clamp | 2 | Set
10.08 | OPGW Optical Splice Kit (48 Fibre) including junction box | 1 | Set
10.09 | OPGW Optical Interface joint kit and junction for line/sub interfaceon substation gantries | 1 | Set
11 | FODP
11.01 | FODP 48F: Indoor type, rack mounted with FCPC coupling and pig tails | 2 | Set
11.02 | Installation hardware set for above 48Fibre, Fibre Optic Approach cableties/clips/cleats, conduits, ducts, supports,fittings, accessories etc for extending OPGW from sub station end tower/gantry to FODP at control/communication room by splicing fibres of OPGW with FOAC in joint box at tower/gantry and splicing FOAC in FODP at control/communication room. | 1 | Lot
12 | Supply of following Aviation Requirements
12.01 | Span Markers | 8 | No.
13 | Obstruction Lights (to be provided as per IS 5613)
13.01 | 1 Medium Intensity + 2 Low Intensity1 Medium Intensity + 2 Low Intensity | 9 | Set
14 | INSULATORS AND INSULATOR STRING HARDWARE
14.01 | 120 KN, 15 disc tension insulator string complete with all hardware fittings including tension clamp for AAAC ‘Zebra’ equivalent. | 99 | Set
14.02 | 90 KN, 14 disc suspension insulator string complete with all hardware fittings including suspension clamp for AAAC ‘Zebra’ equivalent. | 25 | Set
14.03 | 240 KN, double tension insulator string comprising of 2 strings of 120 KN Disc insulators (15 Disc per String) complete with all hardware fittings including tension clamp for AAAC ‘Zebra’ equivalent. | 13 | Set