**ANNEXURE MT-1: PARAMETERS OF WIND GENERATING PLANTS FOR REAL TIME TELEMETRY**

* 1. Turbine Generation (MW and MVAR)
  2. Wind Speed(meter/second)
  3. Generator Status (on/offline)-this is required for calculation of availability of the WTG
  4. Wind Direction (degrees from true north)
  5. Voltage (Volt)
  6. Ambient air temperature (oC)
  7. Barometric Pressure (Pascal)
  8. Relative humidity (%)
  9. Air Density(kg/m3)
  10. Power plant controller signals