**ANNEXURE MT-3: PARAMETERS OF SOLAR GENERATING PLANTS FOR REAL TIME TELEMETRY**

1. Solar Generation unit/Inverter-wise (MW and MVAR)
2. Voltage at interconnection point (Volt)
3. Generator/Inverter status(on/offline)
4. Global horizontal irradiance (GHI)–Watt per meter square
5. Ambient temperature (oC)
6. Diffuse Irradiance–Watt per meter square
7. DirectIrradiance–Watt per meter square
8. Sunrise and sunset timings
9. Cloud cover (Okta)
10. Rainfall(mm)
11. Relative humidity (%)
12. Performance ratio
13. Power plant controller signals